2022 Water Quality Report for CITY of COLOMA

Water Supply Serial Number: 01530

This report covers the drinking water quality for the City of Coloma for the 2022 calendar year. This information is a snapshot of the quality of the water that we provided to you in 2022. Included are details about where your water comes from, what it contains, and how it compares to United States Environmental Protection Agency (USEPA) and state standards.

Your water comes from four (4) groundwater wells, each over 102 foot depth. The State performed an assessment of our source water to determine the susceptibility or the relative potential of contamination. The susceptibility rating is on a seven-tiered scale from "very-low" to "very-high" based on geologic sensitivity, well construction, water chemistry and contamination sources. The susceptibility of our source is moderately susceptible.

There are no significant sources of contamination in our water. We are making efforts to protect our sources by participation in a Wellhead Protection Program.  If you would like to know more about this report, please contact: Coloma City Hall (269) 468-6606.

Contaminants and their presence in water: Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the U.S. EPA’s Safe Drinking Water Hotline (800-426-4791).

Vulnerability of sub-populations: Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune systems disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC (Center for Disease Control) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Sources of drinking water: The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. Our water comes from wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and herbicides, which may come from a variety of sources such as agriculture and residential uses.

Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also, come from gas stations, urban storm water runoff, and septic systems.

To ensure that tap water is safe to drink, the USEPA prescribes regulations which limit the levels of certain contaminants in water provided by public water systems. Federal Food and Drug Administration regulations establish limits for contaminants in bottled water which provide the same protection for public health.

# Water Quality Data

The table below lists all the drinking water contaminants that we detected during the 2022 calendar year.

The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk. Unless otherwise noted, the data presented in this table is from testing done January 1 through December 31, 2022. The State allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year.  All the data is representative of the water quality, but some are more than one year old.

## Terms and abbreviations used below:

Maximum Contaminant Level Goal (MCLG):The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG):The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.

N/A: Not applicable

ND:  not detectable at testing limit

ppm: parts per million or milligrams per liter

ppb: parts per billion or micrograms per liter

ppt:  parts per trillion or nanograms per liter

pCi/l: picocuries per liter (a measure of radioactivity)

Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

Level 1 Assessment: A study of the water supply to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

1Monitoring Data for Regulated Contaminants

| Regulated Contaminant | MCL, TT, or MRDL | MCLG or MRDLG | Level Detected | Range | Year Sampled | Violation Yes/No | Typical Source of Contaminant |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Arsenic(ppb) | 10 | 0 | RL .002 | 0 – 4 | 2022 | No | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes |
| Barium(ppm) | 2 | 2 | 0.14 | .15-.25 | 2022 | No | Discharge of drilling wastes; Discharge of metal refineries; Erosion of natural deposits |
| Nitrate(ppm) | 10 | 10 | 0.4 | ND-0.4 | 2022 | No | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |
| Fluoride(ppm) Not Detected | 4 | 4 | 0.1 RL | 0.1 | 2022 | No | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories |
| Sodium(ppm) | N/A | N/A | 25 | ---- | 2022 | No | Erosion of natural deposits |
| TTHM Total Trihalomethanes(ppb) | 80 | N/A | 0.002 | 0.001 | 2022 | No | Byproduct of drinking water disinfection |
| Chlorine(ppm) | 4 | 4 | .006 | 0.060 | 2022 | No | Water additive used to control microbes |
| Total Coliform (total number or % of positive samples/month) | ND | ND | ND | ND | Monthly | No | Naturally present in the environment |

| Per- and polyfluoroalkyl substances (PFAS) |
| --- |
| Regulated Contaminant | MCL, TT, or MRDL | MCLG or MRDLG | Level Detected | Range | Year Sampled | Violation Yes/No | Typical Source of Contaminant |
| Hexafluoropropyleneoxide dimer acid(HFPO-DA) (ppt) | 370 | N/A | ND | 0 | 2022 | No | Discharge and waste from industrial facilities utilizing the Gen Xchemical process |
| Perfluorobutanesulfonic acid (PFBS)(ppt) | 420 | N/A | ND | 0 | 2022 | No | Discharge and waste from industrial facilities; Stain-resistant treatments |
| Perfluorohexanesulfonic acid (PFHxS)(ppt) | 51 | N/A | ND | 0 | 2022 | No | Firefighting foam; Discharge and waste from industrial facilities |
| Perfluorohexanoic acid(PFHxA) (ppt) | 400,000 | N/A | ND | 0 | 2022 | No | Firefighting foam; Discharge and waste from industrial facilities |
| Perfluorononanoic acid(PFNA) (ppt) | 6 | N/A | ND | 0 | 2022 | No | Discharge and waste from industrial facilities; Breakdown of precursor compounds |
| Perfluorooctanesulfonic acid (PFOS)(ppt) | 16 | N/A | ND | 0 | 2022 | No | Firefighting foam; Discharge from electroplating facilities; Discharge and waste from industrial facilities |
| Perfluorooctanoic acid(PFOA) (ppt) | 8 | N/A | ND | 0 | 2022 | No | Discharge and waste from industrial facilities; Stain-resistant treatments |
| Inorganic Contaminant Subject to ALs | AL | MCLG | Your Water | Range of Results | Year Sampled | Number of Samples Above AL | Typical Source of Contaminant |
| Lead (ppb) | 15 | 0.001 | ND | 0-19ppb | 2021 | 1 | Lead service lines, corrosion of household plumbing including fittings and fixtures; Erosion of natural deposits |
| Copper (ppm) | 1.3 | .05 | ND | 0.0-0.5 | 2021 | 0 | Corrosion of household plumbing systems; Erosion of natural deposits |

3. Ninety (90) percent of the samples collected were at or below the level reported for our water.

Information about lead:  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The City of Coloma is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you have a lead service line, it is recommended that you run your water for at least 5 minutes to flush water from both your home plumbing and the lead service line.  Infants and children who drink water containing lead could experience delays in their physical or mental development.  Children could show slight deficits in attention span and learning abilities.  Adults who drink this water over many years could develop kidney problems or high blood pressure.  If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Violation:  The City of Coloma received one (1) violation notice for submitting a TTHM & HAA5 water sample ahead of the specific dates designated.  Samples were to be submitted August 1st through August 31st, 2022.  Our sample was submitted July 19th, 2022 ahead of the specified dates.  This made the City out of compliance September 1st, 2022.  Information was resubmitted and there was no fine for this violation. Returning to compliance with the violation includes collecting a new sample August 2023.  A violation was received March 18th, 2022 for paperwork required to be filed with the State of Michigan.  A Reliability Study, General Plan and Asset Management Program were filed by July 1st, 2022 to bring the City of Coloma into compliance.

Our water supply has three (3) lead service lines and eight (8) service lines of unknown material out of a total of seven hundred eleven (711) service lines.  The three (3) were replaced in 2022.  Monitoring and reporting to the Michigan Department of Environment, Great Lakes, and Energy (EGLE) requirements:  The State of Michigan and the U.S. EPA require us to test our water on a regular basis to ensure its safety. We met all the monitoring and reporting requirements for 2022.  Protection of drinking water is everyone’s responsibility.  You can help protect your community’s drinking water sources.  Dispose of chemicals properly – take used motor oil to a recycling center.

We will update this report annually and will keep you informed of any problems that may occur throughout the year as they happen. Copies are available at Coloma City Hall and on our Website; cityofcoloma.org.  We invite public participation in decisions that affect drinking water quality. City Commission meetings are held the 2nd and 4th Monday of each month at 7:30 p.m. at Coloma City Hall.  For more information about your water or the contents of this report, contact Water Supervisor, Rod Burkholder.  For more information about safe drinking water, visit the U.S. EPA at http://www.epa.gov/safewater.

# IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

## Monitoring Requirements Not Met for

## City of Coloma

The City of Coloma is required to monitor your drinking water for specific contaminants on a regular basis.  Results of regular monitoring are an indicator of whether or not our drinking water meets health standards.  During August 1, 2022, to August 31, 2022, we did not complete monitoring for total trihalomethanes (TTHM) and haloacetic acids (HAA5) and therefore, cannot be sure of the quality of your drinking water during that time.  The violation does not pose a threat to the quality of the supply's water.

What should I do?  There is nothing you need to do at this time.  This is not an emergency.  You do not need to boil water or use an alternative source of water at this time.  Even though this is not an emergency, as our customers, you have a right to know what happened and what we are doing to correct the situation.

The table below lists the contaminants we did not properly test for, how often we are supposed to sample for these contaminants, how many samples we are supposed to take, how many samples we took, when samples should have been taken, and the date we will collect follow-up samples.

| Contaminants | Required sampling frequency | Number of samples taken | Date samples should have been collected | Date samples will be collected |
| --- | --- | --- | --- | --- |
| TTHM | 1 sample every year | 0 | 08/01/2022– 08/31/2022 | 08/01/2023 – 08/31/2023 |
| HAA5 | 1 sample every year | 0 | 08/01/2022-08/31/2022 | 08/01/2023-08/31/2023 |

What happened?  What is being done?  We sampled TTHM and HAA5 on July 19, 2022, instead of during the required monitoring period of August 1-31, 2022; therefore, the samples were not accepted for compliance monitoring.  We will collect the required follow-up samples during August 2023.  Our staff is making every effort to assure this does not happen again.

For more information, please contact _Rodney Burkholder at Coloma City Hall (269) 468-6606.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

More information about your drinking water is available from the U.S. Environmental Protection Agency Office of Water home page at:  http://www.epa.gov/safewater/dwinfo.htm.  This notice is being sent to you by the City of Coloma.

CERTIFICATION:

I certify that this water supply has fully complied with the public notification regulations in the Michigan Safe Drinking Water Act, 1976 PA 399, as amended, and the administrative rules.

Signature:___________________________Title:____________________Date Distributed:__________

# Footnotes

Sodium is not a regulated contaminant.

The chlorine “Level Detected” was calculated using a running annual average.